## Readme
Section | Description
File Purpose | Contains all supplementary data, parameters, and configurations for the simulations presented in the manuscript.
Sheet Contents | Datasets: Information on data sources and features used.
Base_Learners: Hyperparameters for all prediction models.
System_Parameters: Economic and operational parameters for the test systems.
Algorithm_Config: Convergence tolerances and parameters for the proposed algorithm.

## Datasets
Data Sources
Data Type | Source | Period | Resolution | Notes
Wind Generation | Elia Open Data Platform https://opendata.elia.be/explore/dataset/ods031/information/ | 2024-01-01T00:00:00~2024-12-31T23:45:00 | 15min | The generation data for the five simulated wind farms in our case studies is taken directly from this dataset. The data for each farm corresponds to a specific category, as follows: 1. Wind Farm 1: Walloon Region (TSO/Elia connection) 2. Wind Farm 2: Walloon Region (DSO connection) 3. Wind Farm 3: Flemish Region (TSO/Elia connection) 4. Wind Farm 4: Flemish Region (DSO connection) 5. Wind Farm 5: Offshore (TSO/Elia connection)
Meteorological | Xihe Energy Platform https://xihe-energy.com/ | 2024-01-01T00~2024-12-31T23 | Hourly | We selected the meteorological data of three specific grid points to represent the general meteorological data of the following areas in Belgium: 1. Walloon Region (4.05°E, 50.62°N), 2. Flemish Region (4.28°E, 51.30°N), 3. Offshore (2.95°E, 51.55°N).
Load | Elia Open Data Platform https://opendata.elia.be/explore/dataset/ods031/information/ | 2024-01-01T00:00:00~2024-12-31T23:45:00 | 15min | \
Feature Engineering
Feature Name | Unit / Encoding | Notes
Ground Wind Speed (Next 24 Hours) | m/s | \
Wind Direction (Next 24 Hours) | Sin/Cos Encoding | Convert the angle θ (in degrees) to sin(rad(θ)) and cos(rad(θ)). This method captures the cyclical nature of wind direction (e.g., 0° = 360°).
Radial Wind (Next 24 Hours) | m/s | \
Meridional Wind (Next 24 Hours) | m/s | \
Humidity (Next 24 Hours) | % (Percentage) | \
Air Pressure (Next 24 Hours) | hPa | \
Wind Power Time Series (Past 24 Hours) | MW | \

## Base_Learners
General Training Parameters (for MLP, CNN, LSTM)
Parameter | Value | Notes
Epochs | 500 | Maximum number of training epochs.
Batch Size | 64 | \
Learning Rate | 0.001 | Using Adam optimizer.
Early Stopping Patience | 10 | Training stops if validation loss does not improve for 10 consecutive epochs.
LR Scheduler | ReduceLROnPlateau | Learning rate is halved if validation loss plateaus for 5 epochs.
Model-Specific Hyperparameters
Model | Parameter | Value | Notes
MLP | Hidden Layers | [256, 128] | Two hidden layers with ReLU activation and Dropout (p=0.2).
CNN | Conv1D Channels | [64, 128, 256] | Three Conv1D layers with kernel size 3 and MaxPool.
LSTM | Hidden Units | 256 | A single LSTM layer.
XGBoost | n_estimators | 100 | Wrapped in scikit-learn's MultiOutputRegressor.
XGBoost | objective | reg:squarederror | \
Random Forest | n_estimators | 100 | Wrapped in scikit-learn's MultiOutputRegressor.
SVM (SVR) | Kernel | rbf | Wrapped in scikit-learn's MultiOutputRegressor.
SVM (SVR) | C | 1 | \
SVM (SVR) | Epsilon | 0.1 | \

## System_Parameters_Small_Scale
Sbase
100MW
Bus Data
Bus Index | Type | Pd (MW) | Qd (MVar) | Gs (p.u.) | Bs (p.u.) | Area | Vm (p.u.) | Va (deg) | BaseKV (kV) | Zone | Vmax (p.u.) | Vmin (p.u.)
1 | Slack (3) | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 345 | 1 | 1.1 | 0.9
2 | PV (2) | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 345 | 1 | 1.1 | 0.9
3 | PV (2) | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 345 | 1 | 1.1 | 0.9
4 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 345 | 1 | 1.1 | 0.9
5 | PQ (1) | 90 | 30 | 0 | 0 | 1 | 1 | 0 | 345 | 1 | 1.1 | 0.9
6 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 345 | 1 | 1.1 | 0.9
7 | PQ (1) | 100 | 35 | 0 | 0 | 1 | 1 | 0 | 345 | 1 | 1.1 | 0.9
8 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 345 | 1 | 1.1 | 0.9
9 | PQ (1) | 125 | 50 | 0 | 0 | 1 | 1 | 0 | 345 | 1 | 1.1 | 0.9
Thermal Generator Base Data
Gen Index | Bus Index | Pg (MW) | Qg (MVar) | Qmax (MVar) | Qmin (MVar) | Vg (p.u.) | Mbase | Status | Pmax (p.u.) | Pmin (p.u.) | Pc1 (MW) | Pc2 (MW) | Qc1min (MVar) | Qc1max (MVar) | Qc2min (MVar) | Qc2max (MVar) | ramp_up (p.u./h) | ramp_down (p.u./h) | ramp_sup (p.u.) | ramp_sdown (p.u.) | Minimum On Time (h) | Minimum Off Time (h)
1 | 1 | 72.3 | 27.03 | 300 | -300 | 1.04 | 100 | 1 | 2.5 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.8 | 0.8 | 2 | 2
2 | 2 | 163 | 6.54 | 300 | -300 | 1.025 | 100 | 1 | 3 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.95 | 0.95 | 0.95 | 2 | 2
3 | 3 | 85 | -10.95 | 300 | -300 | 1.025 | 100 | 1 | 2.7 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86 | 0.86 | 0.86 | 0.86 | 2 | 2
Branch Data
Branch Index | From Bus | To Bus | r (p.u.) | x (p.u.) | b (p.u.) | Rate A (MVA) | Rate B (MVA) | Rate C (MVA) | ratio | angle | status | angmin | angmax | Line Flow Upper Bounds (p.u.) | Line Flow Lower Bounds (p.u.)
1 | 1 | 4 | 0 | 0.0576 | 0 | 250 | 250 | 250 | 0 | 0 | 1 | -360 | 360 | 4.7 | -4.7
2 | 4 | 5 | 0.017 | 0.092 | 0.158 | 250 | 250 | 250 | 0 | 0 | 1 | -360 | 360 | 4.7 | -4.7
3 | 5 | 6 | 0.039 | 0.17 | 0.358 | 150 | 150 | 150 | 0 | 0 | 1 | -360 | 360 | 4.7 | -4.7
4 | 3 | 6 | 0 | 0.0586 | 0 | 300 | 300 | 300 | 0 | 0 | 1 | -360 | 360 | 4.7 | -4.7
5 | 6 | 7 | 0.0119 | 0.1008 | 0.209 | 150 | 150 | 150 | 0 | 0 | 1 | -360 | 360 | 4.7 | -4.7
6 | 7 | 8 | 0.0085 | 0.072 | 0.149 | 250 | 250 | 250 | 0 | 0 | 1 | -360 | 360 | 4.7 | -4.7
7 | 8 | 2 | 0 | 0.0625 | 0 | 250 | 250 | 250 | 0 | 0 | 1 | -360 | 360 | 4.7 | -4.7
8 | 8 | 9 | 0.032 | 0.161 | 0.306 | 250 | 250 | 250 | 0 | 0 | 1 | -360 | 360 | 4.7 | -4.7
9 | 9 | 4 | 0.01 | 0.085 | 0.176 | 250 | 250 | 250 | 0 | 0 | 1 | -360 | 360 | 4.7 | -4.7
Gen Parameters
model type | startup cost ($) | shutdown cost ($) | n | c2 ($) | c1 ($) | c0 ($) | Compensation Up Cost ($) | Compensation Down Cost ($)
2 | 1500 | 0 | 3 | 0.11 | 5 | 150 | 20 | 1
2 | 2000 | 0 | 3 | 0.085 | 1.2 | 600 | 4.8 | 0.24
2 | 3000 | 0 | 3 | 0.1225 | 1 | 335 | 4 | 0.2
Load
Load Index | Bus Index | Load Weight
1 | 5 | 0.25
2 | 7 | 0.3
3 | 9 | 0.45
RES
RES Unit Index | Bus Index | Pmax (p.u.)
1 | 1 | 2

## System_Parameters_Large_Scale
Sbase
100MW
Bus Data
Bus Index | Type | Pd (MW) | Qd (MVar) | Gs (p.u.) | Bs (p.u.) | Area | Vm (p.u.) | Va (deg) | BaseKV (kV) | Zone | Vmax (p.u.) | Vmin (p.u.)
1 | PV (2) | 51 | 27 | 0 | 0 | 1 | 0.955 | 10.67 | 138 | 1 | 1.06 | 0.94
2 | PQ (1) | 20 | 9 | 0 | 0 | 1 | 0.971 | 11.22 | 138 | 1 | 1.06 | 0.94
3 | PQ (1) | 39 | 10 | 0 | 0 | 1 | 0.968 | 11.56 | 138 | 1 | 1.06 | 0.94
4 | PV (2) | 39 | 12 | 0 | 0 | 1 | 0.998 | 15.28 | 138 | 1 | 1.06 | 0.94
5 | PQ (1) | 0 | 0 | 0 | -40 | 1 | 1.002 | 15.73 | 138 | 1 | 1.06 | 0.94
6 | PV (2) | 52 | 22 | 0 | 0 | 1 | 0.99 | 13 | 138 | 1 | 1.06 | 0.94
7 | PQ (1) | 19 | 2 | 0 | 0 | 1 | 0.989 | 12.56 | 138 | 1 | 1.06 | 0.94
8 | PV (2) | 28 | 0 | 0 | 0 | 1 | 1.015 | 20.77 | 345 | 1 | 1.06 | 0.94
9 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 1.043 | 28.02 | 345 | 1 | 1.06 | 0.94
10 | PV (2) | 0 | 0 | 0 | 0 | 1 | 1.05 | 35.61 | 345 | 1 | 1.06 | 0.94
11 | PQ (1) | 70 | 23 | 0 | 0 | 1 | 0.985 | 12.72 | 138 | 1 | 1.06 | 0.94
12 | PV (2) | 47 | 10 | 0 | 0 | 1 | 0.99 | 12.2 | 138 | 1 | 1.06 | 0.94
13 | PQ (1) | 34 | 16 | 0 | 0 | 1 | 0.968 | 11.35 | 138 | 1 | 1.06 | 0.94
14 | PQ (1) | 14 | 1 | 0 | 0 | 1 | 0.984 | 11.5 | 138 | 1 | 1.06 | 0.94
15 | PV (2) | 90 | 30 | 0 | 0 | 1 | 0.97 | 11.23 | 138 | 1 | 1.06 | 0.94
16 | PQ (1) | 25 | 10 | 0 | 0 | 1 | 0.984 | 11.91 | 138 | 1 | 1.06 | 0.94
17 | PQ (1) | 11 | 3 | 0 | 0 | 1 | 0.995 | 13.74 | 138 | 1 | 1.06 | 0.94
18 | PV (2) | 60 | 34 | 0 | 0 | 1 | 0.973 | 11.53 | 138 | 1 | 1.06 | 0.94
19 | PV (2) | 45 | 25 | 0 | 0 | 1 | 0.963 | 11.05 | 138 | 1 | 1.06 | 0.94
20 | PQ (1) | 18 | 3 | 0 | 0 | 1 | 0.958 | 11.93 | 138 | 1 | 1.06 | 0.94
21 | PQ (1) | 14 | 8 | 0 | 0 | 1 | 0.959 | 13.52 | 138 | 1 | 1.06 | 0.94
22 | PQ (1) | 10 | 5 | 0 | 0 | 1 | 0.97 | 16.08 | 138 | 1 | 1.06 | 0.94
23 | PQ (1) | 7 | 3 | 0 | 0 | 1 | 1 | 21 | 138 | 1 | 1.06 | 0.94
24 | PV (2) | 13 | 0 | 0 | 0 | 1 | 0.992 | 20.89 | 138 | 1 | 1.06 | 0.94
25 | PV (2) | 0 | 0 | 0 | 0 | 1 | 1.05 | 27.93 | 138 | 1 | 1.06 | 0.94
26 | PV (2) | 0 | 0 | 0 | 0 | 1 | 1.015 | 29.71 | 345 | 1 | 1.06 | 0.94
27 | PV (2) | 71 | 13 | 0 | 0 | 1 | 0.968 | 15.35 | 138 | 1 | 1.06 | 0.94
28 | PQ (1) | 17 | 7 | 0 | 0 | 1 | 0.962 | 13.62 | 138 | 1 | 1.06 | 0.94
29 | PQ (1) | 24 | 4 | 0 | 0 | 1 | 0.963 | 12.63 | 138 | 1 | 1.06 | 0.94
30 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 0.968 | 18.79 | 345 | 1 | 1.06 | 0.94
31 | PV (2) | 43 | 27 | 0 | 0 | 1 | 0.967 | 12.75 | 138 | 1 | 1.06 | 0.94
32 | PV (2) | 59 | 23 | 0 | 0 | 1 | 0.964 | 14.8 | 138 | 1 | 1.06 | 0.94
33 | PQ (1) | 23 | 9 | 0 | 0 | 1 | 0.972 | 10.63 | 138 | 1 | 1.06 | 0.94
34 | PV (2) | 59 | 26 | 0 | 14 | 1 | 0.986 | 11.3 | 138 | 1 | 1.06 | 0.94
35 | PQ (1) | 33 | 9 | 0 | 0 | 1 | 0.981 | 10.87 | 138 | 1 | 1.06 | 0.94
36 | PV (2) | 31 | 17 | 0 | 0 | 1 | 0.98 | 10.87 | 138 | 1 | 1.06 | 0.94
37 | PQ (1) | 0 | 0 | 0 | -25 | 1 | 0.992 | 11.77 | 138 | 1 | 1.06 | 0.94
38 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 0.962 | 16.91 | 345 | 1 | 1.06 | 0.94
39 | PQ (1) | 27 | 11 | 0 | 0 | 1 | 0.97 | 8.41 | 138 | 1 | 1.06 | 0.94
40 | PV (2) | 66 | 23 | 0 | 0 | 1 | 0.97 | 7.35 | 138 | 1 | 1.06 | 0.94
41 | PQ (1) | 37 | 10 | 0 | 0 | 1 | 0.967 | 6.92 | 138 | 1 | 1.06 | 0.94
42 | PV (2) | 96 | 23 | 0 | 0 | 1 | 0.985 | 8.53 | 138 | 1 | 1.06 | 0.94
43 | PQ (1) | 18 | 7 | 0 | 0 | 1 | 0.978 | 11.28 | 138 | 1 | 1.06 | 0.94
44 | PQ (1) | 16 | 8 | 0 | 10 | 1 | 0.985 | 13.82 | 138 | 1 | 1.06 | 0.94
45 | PQ (1) | 53 | 22 | 0 | 10 | 1 | 0.987 | 15.67 | 138 | 1 | 1.06 | 0.94
46 | PV (2) | 28 | 10 | 0 | 10 | 1 | 1.005 | 18.49 | 138 | 1 | 1.06 | 0.94
47 | PQ (1) | 34 | 0 | 0 | 0 | 1 | 1.017 | 20.73 | 138 | 1 | 1.06 | 0.94
48 | PQ (1) | 20 | 11 | 0 | 15 | 1 | 1.021 | 19.93 | 138 | 1 | 1.06 | 0.94
49 | PV (2) | 87 | 30 | 0 | 0 | 1 | 1.025 | 20.94 | 138 | 1 | 1.06 | 0.94
50 | PQ (1) | 17 | 4 | 0 | 0 | 1 | 1.001 | 18.9 | 138 | 1 | 1.06 | 0.94
51 | PQ (1) | 17 | 8 | 0 | 0 | 1 | 0.967 | 16.28 | 138 | 1 | 1.06 | 0.94
52 | PQ (1) | 18 | 5 | 0 | 0 | 1 | 0.957 | 15.32 | 138 | 1 | 1.06 | 0.94
53 | PQ (1) | 23 | 11 | 0 | 0 | 1 | 0.946 | 14.35 | 138 | 1 | 1.06 | 0.94
54 | PV (2) | 113 | 32 | 0 | 0 | 1 | 0.955 | 15.26 | 138 | 1 | 1.06 | 0.94
55 | PV (2) | 63 | 22 | 0 | 0 | 1 | 0.952 | 14.97 | 138 | 1 | 1.06 | 0.94
56 | PV (2) | 84 | 18 | 0 | 0 | 1 | 0.954 | 15.16 | 138 | 1 | 1.06 | 0.94
57 | PQ (1) | 12 | 3 | 0 | 0 | 1 | 0.971 | 16.36 | 138 | 1 | 1.06 | 0.94
58 | PQ (1) | 12 | 3 | 0 | 0 | 1 | 0.959 | 15.51 | 138 | 1 | 1.06 | 0.94
59 | PV (2) | 277 | 113 | 0 | 0 | 1 | 0.985 | 19.37 | 138 | 1 | 1.06 | 0.94
60 | PQ (1) | 78 | 3 | 0 | 0 | 1 | 0.993 | 23.15 | 138 | 1 | 1.06 | 0.94
61 | PV (2) | 0 | 0 | 0 | 0 | 1 | 0.995 | 24.04 | 138 | 1 | 1.06 | 0.94
62 | PV (2) | 77 | 14 | 0 | 0 | 1 | 0.998 | 23.43 | 138 | 1 | 1.06 | 0.94
63 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 0.969 | 22.75 | 345 | 1 | 1.06 | 0.94
64 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 0.984 | 24.52 | 345 | 1 | 1.06 | 0.94
65 | PV (2) | 0 | 0 | 0 | 0 | 1 | 1.005 | 27.65 | 345 | 1 | 1.06 | 0.94
66 | PV (2) | 39 | 18 | 0 | 0 | 1 | 1.05 | 27.48 | 138 | 1 | 1.06 | 0.94
67 | PQ (1) | 28 | 7 | 0 | 0 | 1 | 1.02 | 24.84 | 138 | 1 | 1.06 | 0.94
68 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 1.003 | 27.55 | 345 | 1 | 1.06 | 0.94
69 | Slack (3) | 0 | 0 | 0 | 0 | 1 | 1.035 | 30 | 138 | 1 | 1.06 | 0.94
70 | PV (2) | 66 | 20 | 0 | 0 | 1 | 0.984 | 22.58 | 138 | 1 | 1.06 | 0.94
71 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 0.987 | 22.15 | 138 | 1 | 1.06 | 0.94
72 | PV (2) | 12 | 0 | 0 | 0 | 1 | 0.98 | 20.98 | 138 | 1 | 1.06 | 0.94
73 | PV (2) | 6 | 0 | 0 | 0 | 1 | 0.991 | 21.94 | 138 | 1 | 1.06 | 0.94
74 | PV (2) | 68 | 27 | 0 | 12 | 1 | 0.958 | 21.64 | 138 | 1 | 1.06 | 0.94
75 | PQ (1) | 47 | 11 | 0 | 0 | 1 | 0.967 | 22.91 | 138 | 1 | 1.06 | 0.94
76 | PV (2) | 68 | 36 | 0 | 0 | 1 | 0.943 | 21.77 | 138 | 1 | 1.06 | 0.94
77 | PV (2) | 61 | 28 | 0 | 0 | 1 | 1.006 | 26.72 | 138 | 1 | 1.06 | 0.94
78 | PQ (1) | 71 | 26 | 0 | 0 | 1 | 1.003 | 26.42 | 138 | 1 | 1.06 | 0.94
79 | PQ (1) | 39 | 32 | 0 | 20 | 1 | 1.009 | 26.72 | 138 | 1 | 1.06 | 0.94
80 | PV (2) | 130 | 26 | 0 | 0 | 1 | 1.04 | 28.96 | 138 | 1 | 1.06 | 0.94
81 | PQ (1) | 0 | 0 | 0 | 0 | 1 | 0.997 | 28.1 | 345 | 1 | 1.06 | 0.94
82 | PQ (1) | 54 | 27 | 0 | 20 | 1 | 0.989 | 27.24 | 138 | 1 | 1.06 | 0.94
83 | PQ (1) | 20 | 10 | 0 | 10 | 1 | 0.985 | 28.42 | 138 | 1 | 1.06 | 0.94
84 | PQ (1) | 11 | 7 | 0 | 0 | 1 | 0.98 | 30.95 | 138 | 1 | 1.06 | 0.94
85 | PV (2) | 24 | 15 | 0 | 0 | 1 | 0.985 | 32.51 | 138 | 1 | 1.06 | 0.94
86 | PQ (1) | 21 | 10 | 0 | 0 | 1 | 0.987 | 31.14 | 138 | 1 | 1.06 | 0.94
87 | PV (2) | 0 | 0 | 0 | 0 | 1 | 1.015 | 31.4 | 161 | 1 | 1.06 | 0.94
88 | PQ (1) | 48 | 10 | 0 | 0 | 1 | 0.987 | 35.64 | 138 | 1 | 1.06 | 0.94
89 | PV (2) | 0 | 0 | 0 | 0 | 1 | 1.005 | 39.69 | 138 | 1 | 1.06 | 0.94
90 | PV (2) | 163 | 42 | 0 | 0 | 1 | 0.985 | 33.29 | 138 | 1 | 1.06 | 0.94
91 | PV (2) | 10 | 0 | 0 | 0 | 1 | 0.98 | 33.31 | 138 | 1 | 1.06 | 0.94
92 | PV (2) | 65 | 10 | 0 | 0 | 1 | 0.993 | 33.8 | 138 | 1 | 1.06 | 0.94
93 | PQ (1) | 12 | 7 | 0 | 0 | 1 | 0.987 | 30.79 | 138 | 1 | 1.06 | 0.94
94 | PQ (1) | 30 | 16 | 0 | 0 | 1 | 0.991 | 28.64 | 138 | 1 | 1.06 | 0.94
95 | PQ (1) | 42 | 31 | 0 | 0 | 1 | 0.981 | 27.67 | 138 | 1 | 1.06 | 0.94
96 | PQ (1) | 38 | 15 | 0 | 0 | 1 | 0.993 | 27.51 | 138 | 1 | 1.06 | 0.94
97 | PQ (1) | 15 | 9 | 0 | 0 | 1 | 1.011 | 27.88 | 138 | 1 | 1.06 | 0.94
98 | PQ (1) | 34 | 8 | 0 | 0 | 1 | 1.024 | 27.4 | 138 | 1 | 1.06 | 0.94
99 | PV (2) | 42 | 0 | 0 | 0 | 1 | 1.01 | 27.04 | 138 | 1 | 1.06 | 0.94
100 | PV (2) | 37 | 18 | 0 | 0 | 1 | 1.017 | 28.03 | 138 | 1 | 1.06 | 0.94
101 | PQ (1) | 22 | 15 | 0 | 0 | 1 | 0.993 | 29.61 | 138 | 1 | 1.06 | 0.94
102 | PQ (1) | 5 | 3 | 0 | 0 | 1 | 0.991 | 32.3 | 138 | 1 | 1.06 | 0.94
103 | PV (2) | 23 | 16 | 0 | 0 | 1 | 1.001 | 24.44 | 138 | 1 | 1.06 | 0.94
104 | PV (2) | 38 | 25 | 0 | 0 | 1 | 0.971 | 21.69 | 138 | 1 | 1.06 | 0.94
105 | PV (2) | 31 | 26 | 0 | 20 | 1 | 0.965 | 20.57 | 138 | 1 | 1.06 | 0.94
106 | PQ (1) | 43 | 16 | 0 | 0 | 1 | 0.962 | 20.32 | 138 | 1 | 1.06 | 0.94
107 | PV (2) | 50 | 12 | 0 | 6 | 1 | 0.952 | 17.53 | 138 | 1 | 1.06 | 0.94
108 | PQ (1) | 2 | 1 | 0 | 0 | 1 | 0.967 | 19.38 | 138 | 1 | 1.06 | 0.94
109 | PQ (1) | 8 | 3 | 0 | 0 | 1 | 0.967 | 18.93 | 138 | 1 | 1.06 | 0.94
110 | PV (2) | 39 | 30 | 0 | 6 | 1 | 0.973 | 18.09 | 138 | 1 | 1.06 | 0.94
111 | PV (2) | 0 | 0 | 0 | 0 | 1 | 0.98 | 19.74 | 138 | 1 | 1.06 | 0.94
112 | PV (2) | 68 | 13 | 0 | 0 | 1 | 0.975 | 14.99 | 138 | 1 | 1.06 | 0.94
113 | PV (2) | 6 | 0 | 0 | 0 | 1 | 0.993 | 13.74 | 138 | 1 | 1.06 | 0.94
114 | PQ (1) | 8 | 3 | 0 | 0 | 1 | 0.96 | 14.46 | 138 | 1 | 1.06 | 0.94
115 | PQ (1) | 22 | 7 | 0 | 0 | 1 | 0.96 | 14.46 | 138 | 1 | 1.06 | 0.94
116 | PV (2) | 184 | 0 | 0 | 0 | 1 | 1.005 | 27.12 | 138 | 1 | 1.06 | 0.94
117 | PQ (1) | 20 | 8 | 0 | 0 | 1 | 0.974 | 10.67 | 138 | 1 | 1.06 | 0.94
118 | PQ (1) | 33 | 15 | 0 | 0 | 1 | 0.949 | 21.92 | 138 | 1 | 1.06 | 0.94
Thermal Generator Base Data
Gen Index | Bus Index | Pg (MW) | Qg (MVar) | Qmax (MVar) | Qmin (MVar) | Vg (p.u.) | Mbase | Status | Pmax (p.u.) | Pmin (p.u.) | Pc1 (MW) | Pc2 (MW) | Qc1min (MVar) | Qc1max (MVar) | Qc2min (MVar) | Qc2max (MVar) | ramp_up (p.u./h) | ramp_down (p.u./h) | ramp_sup (p.u.) | ramp_sdown (p.u.) | Minimum On Time (h) | Minimum Off Time (h)
1 | 1 | 0 | 0 | 15 | -5 | 0.955 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
2 | 4 | 0 | 0 | 300 | -300 | 0.998 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
3 | 6 | 0 | 0 | 50 | -13 | 0.99 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
4 | 8 | 0 | 0 | 300 | -300 | 1.015 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
5 | 12 | 85 | 0 | 120 | -35 | 0.99 | 100 | 1 | 1.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37 | 0.37 | 0.925 | 0.925 | 3 | 3
6 | 15 | 0 | 0 | 30 | -10 | 0.97 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
7 | 18 | 0 | 0 | 50 | -16 | 0.973 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
8 | 24 | 0 | 0 | 300 | -300 | 0.992 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
9 | 25 | 220 | 0 | 140 | -47 | 1.05 | 100 | 1 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.64 | 0.64 | 1.6 | 1.6 | 3 | 3
10 | 27 | 0 | 0 | 300 | -300 | 0.968 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
11 | 31 | 7 | 0 | 300 | -300 | 0.967 | 100 | 1 | 1.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.214 | 0.214 | 0.535 | 0.535 | 3 | 3
12 | 32 | 0 | 0 | 42 | -14 | 0.963 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
13 | 34 | 0 | 0 | 24 | -8 | 0.984 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
14 | 40 | 0 | 0 | 300 | -300 | 0.97 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
15 | 46 | 19 | 0 | 100 | -100 | 1.005 | 100 | 1 | 1.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.238 | 0.238 | 0.595 | 0.595 | 3 | 3
16 | 49 | 204 | 0 | 210 | -85 | 1.025 | 100 | 1 | 3.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.608 | 0.608 | 1.52 | 1.52 | 3 | 3
17 | 54 | 48 | 0 | 300 | -300 | 0.955 | 100 | 1 | 1.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.296 | 0.296 | 0.74 | 0.74 | 3 | 3
18 | 55 | 0 | 0 | 23 | -8 | 0.952 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
19 | 56 | 0 | 0 | 15 | -8 | 0.954 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
20 | 59 | 155 | 0 | 180 | -60 | 0.985 | 100 | 1 | 2.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51 | 0.51 | 1.275 | 1.275 | 3 | 3
21 | 62 | 0 | 0 | 20 | -20 | 0.998 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
22 | 65 | 391 | 0 | 200 | -67 | 1.005 | 100 | 1 | 4.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.982 | 0.982 | 2.455 | 2.455 | 3 | 3
23 | 69 | 516.4 | 0 | 300 | -300 | 1.035 | 100 | 1 | 8.052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6104 | 1.6104 | 4.026 | 4.026 | 3 | 3
24 | 70 | 0 | 0 | 32 | -10 | 0.984 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
25 | 73 | 0 | 0 | 100 | -100 | 0.991 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
26 | 74 | 0 | 0 | 9 | -6 | 0.958 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
27 | 76 | 0 | 0 | 23 | -8 | 0.943 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
28 | 77 | 0 | 0 | 70 | -20 | 1.006 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
29 | 80 | 477 | 0 | 280 | -165 | 1.04 | 100 | 1 | 5.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.154 | 1.154 | 2.885 | 2.885 | 3 | 3
30 | 85 | 0 | 0 | 23 | -8 | 0.985 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
31 | 87 | 4 | 0 | 1000 | -100 | 1.015 | 100 | 1 | 1.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.208 | 0.208 | 0.52 | 0.52 | 3 | 3
32 | 89 | 607 | 0 | 300 | -210 | 1.005 | 100 | 1 | 7.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.414 | 1.414 | 3.535 | 3.535 | 3 | 3
33 | 91 | 0 | 0 | 100 | -100 | 0.98 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
34 | 92 | 0 | 0 | 9 | -3 | 0.99 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
35 | 99 | 0 | 0 | 100 | -100 | 1.01 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
36 | 100 | 252 | 0 | 155 | -50 | 1.017 | 100 | 1 | 3.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.704 | 0.704 | 1.76 | 1.76 | 3 | 3
37 | 103 | 40 | 0 | 40 | -15 | 1.01 | 100 | 1 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28 | 0.28 | 0.7 | 0.7 | 3 | 3
38 | 104 | 0 | 0 | 23 | -8 | 0.971 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
39 | 105 | 0 | 0 | 23 | -8 | 0.965 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
40 | 107 | 0 | 0 | 200 | -200 | 0.952 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
41 | 110 | 0 | 0 | 23 | -8 | 0.973 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
42 | 111 | 36 | 0 | 1000 | -100 | 0.98 | 100 | 1 | 1.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.272 | 0.272 | 0.68 | 0.68 | 3 | 3
43 | 112 | 0 | 0 | 1000 | -100 | 0.975 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
44 | 113 | 0 | 0 | 200 | -100 | 0.993 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
45 | 116 | 0 | 0 | 1000 | -1000 | 1.005 | 100 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.5 | 0.5 | 3 | 3
Branch Data
Branch Index | From Bus | To Bus | r (p.u.) | x (p.u.) | b (p.u.) | Rate A (MVA) | Rate B (MVA) | Rate C (MVA) | ratio | angle | status | angmin | angmax | Line Flow Upper Bounds (p.u.) | Line Flow Lower Bounds (p.u.)
1 | 1 | 2 | 0.0303 | 0.0999 | 0.0254 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
2 | 1 | 3 | 0.0129 | 0.0424 | 0.01082 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
3 | 4 | 5 | 0.00176 | 0.00798 | 0.0021 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
4 | 3 | 5 | 0.0241 | 0.108 | 0.0284 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
5 | 5 | 6 | 0.0119 | 0.054 | 0.01426 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
6 | 6 | 7 | 0.00459 | 0.0208 | 0.0055 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
7 | 8 | 9 | 0.00244 | 0.0305 | 1.162 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
8 | 8 | 5 | 0 | 0.0267 | 0 | 0 | 0 | 0 | 0.985 | 0 | 1 | -360 | 360 | 50 | -50
9 | 9 | 10 | 0.00258 | 0.0322 | 1.23 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
10 | 4 | 11 | 0.0209 | 0.0688 | 0.01748 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
11 | 5 | 11 | 0.0203 | 0.0682 | 0.01738 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
12 | 11 | 12 | 0.00595 | 0.0196 | 0.00502 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
13 | 2 | 12 | 0.0187 | 0.0616 | 0.01572 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
14 | 3 | 12 | 0.0484 | 0.16 | 0.0406 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
15 | 7 | 12 | 0.00862 | 0.034 | 0.00874 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
16 | 11 | 13 | 0.02225 | 0.0731 | 0.01876 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
17 | 12 | 14 | 0.0215 | 0.0707 | 0.01816 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
18 | 13 | 15 | 0.0744 | 0.2444 | 0.06268 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
19 | 14 | 15 | 0.0595 | 0.195 | 0.0502 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
20 | 12 | 16 | 0.0212 | 0.0834 | 0.0214 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
21 | 15 | 17 | 0.0132 | 0.0437 | 0.0444 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
22 | 16 | 17 | 0.0454 | 0.1801 | 0.0466 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
23 | 17 | 18 | 0.0123 | 0.0505 | 0.01298 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
24 | 18 | 19 | 0.01119 | 0.0493 | 0.01142 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
25 | 19 | 20 | 0.0252 | 0.117 | 0.0298 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
26 | 15 | 19 | 0.012 | 0.0394 | 0.0101 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
27 | 20 | 21 | 0.0183 | 0.0849 | 0.0216 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
28 | 21 | 22 | 0.0209 | 0.097 | 0.0246 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
29 | 22 | 23 | 0.0342 | 0.159 | 0.0404 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
30 | 23 | 24 | 0.0135 | 0.0492 | 0.0498 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
31 | 23 | 25 | 0.0156 | 0.08 | 0.0864 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
32 | 26 | 25 | 0 | 0.0382 | 0 | 0 | 0 | 0 | 0.96 | 0 | 1 | -360 | 360 | 50 | -50
33 | 25 | 27 | 0.0318 | 0.163 | 0.1764 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
34 | 27 | 28 | 0.01913 | 0.0855 | 0.0216 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
35 | 28 | 29 | 0.0237 | 0.0943 | 0.0238 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
36 | 30 | 17 | 0 | 0.0388 | 0 | 0 | 0 | 0 | 0.96 | 0 | 1 | -360 | 360 | 50 | -50
37 | 8 | 30 | 0.00431 | 0.0504 | 0.514 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
38 | 26 | 30 | 0.00799 | 0.086 | 0.908 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
39 | 17 | 31 | 0.0474 | 0.1563 | 0.0399 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
40 | 29 | 31 | 0.0108 | 0.0331 | 0.0083 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
41 | 23 | 32 | 0.0317 | 0.1153 | 0.1173 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
42 | 31 | 32 | 0.0298 | 0.0985 | 0.0251 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
43 | 27 | 32 | 0.0229 | 0.0755 | 0.01926 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
44 | 15 | 33 | 0.038 | 0.1244 | 0.03194 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
45 | 19 | 34 | 0.0752 | 0.247 | 0.0632 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
46 | 35 | 36 | 0.00224 | 0.0102 | 0.00268 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
47 | 35 | 37 | 0.011 | 0.0497 | 0.01318 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
48 | 33 | 37 | 0.0415 | 0.142 | 0.0366 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
49 | 34 | 36 | 0.00871 | 0.0268 | 0.00568 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
50 | 34 | 37 | 0.00256 | 0.0094 | 0.00984 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
51 | 38 | 37 | 0 | 0.0375 | 0 | 0 | 0 | 0 | 0.935 | 0 | 1 | -360 | 360 | 50 | -50
52 | 37 | 39 | 0.0321 | 0.106 | 0.027 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
53 | 37 | 40 | 0.0593 | 0.168 | 0.042 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
54 | 30 | 38 | 0.00464 | 0.054 | 0.422 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
55 | 39 | 40 | 0.0184 | 0.0605 | 0.01552 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
56 | 40 | 41 | 0.0145 | 0.0487 | 0.01222 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
57 | 40 | 42 | 0.0555 | 0.183 | 0.0466 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
58 | 41 | 42 | 0.041 | 0.135 | 0.0344 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
59 | 43 | 44 | 0.0608 | 0.2454 | 0.06068 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
60 | 34 | 43 | 0.0413 | 0.1681 | 0.04226 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
61 | 44 | 45 | 0.0224 | 0.0901 | 0.0224 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
62 | 45 | 46 | 0.04 | 0.1356 | 0.0332 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
63 | 46 | 47 | 0.038 | 0.127 | 0.0316 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
64 | 46 | 48 | 0.0601 | 0.189 | 0.0472 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
65 | 47 | 49 | 0.0191 | 0.0625 | 0.01604 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
66 | 42 | 49 | 0.0715 | 0.323 | 0.086 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
67 | 42 | 49 | 0.0715 | 0.323 | 0.086 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
68 | 45 | 49 | 0.0684 | 0.186 | 0.0444 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
69 | 48 | 49 | 0.0179 | 0.0505 | 0.01258 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
70 | 49 | 50 | 0.0267 | 0.0752 | 0.01874 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
71 | 49 | 51 | 0.0486 | 0.137 | 0.0342 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
72 | 51 | 52 | 0.0203 | 0.0588 | 0.01396 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
73 | 52 | 53 | 0.0405 | 0.1635 | 0.04058 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
74 | 53 | 54 | 0.0263 | 0.122 | 0.031 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
75 | 49 | 54 | 0.073 | 0.289 | 0.0738 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
76 | 49 | 54 | 0.0869 | 0.291 | 0.073 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
77 | 54 | 55 | 0.0169 | 0.0707 | 0.0202 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
78 | 54 | 56 | 0.00275 | 0.00955 | 0.00732 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
79 | 55 | 56 | 0.00488 | 0.0151 | 0.00374 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
80 | 56 | 57 | 0.0343 | 0.0966 | 0.0242 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
81 | 50 | 57 | 0.0474 | 0.134 | 0.0332 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
82 | 56 | 58 | 0.0343 | 0.0966 | 0.0242 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
83 | 51 | 58 | 0.0255 | 0.0719 | 0.01788 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
84 | 54 | 59 | 0.0503 | 0.2293 | 0.0598 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
85 | 56 | 59 | 0.0825 | 0.251 | 0.0569 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
86 | 56 | 59 | 0.0803 | 0.239 | 0.0536 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
87 | 55 | 59 | 0.04739 | 0.2158 | 0.05646 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
88 | 59 | 60 | 0.0317 | 0.145 | 0.0376 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
89 | 59 | 61 | 0.0328 | 0.15 | 0.0388 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
90 | 60 | 61 | 0.00264 | 0.0135 | 0.01456 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
91 | 60 | 62 | 0.0123 | 0.0561 | 0.01468 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
92 | 61 | 62 | 0.00824 | 0.0376 | 0.0098 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
93 | 63 | 59 | 0 | 0.0386 | 0 | 0 | 0 | 0 | 0.96 | 0 | 1 | -360 | 360 | 50 | -50
94 | 63 | 64 | 0.00172 | 0.02 | 0.216 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
95 | 64 | 61 | 0 | 0.0268 | 0 | 0 | 0 | 0 | 0.985 | 0 | 1 | -360 | 360 | 50 | -50
96 | 38 | 65 | 0.00901 | 0.0986 | 1.046 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
97 | 64 | 65 | 0.00269 | 0.0302 | 0.38 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
98 | 49 | 66 | 0.018 | 0.0919 | 0.0248 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
99 | 49 | 66 | 0.018 | 0.0919 | 0.0248 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
100 | 62 | 66 | 0.0482 | 0.218 | 0.0578 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
101 | 62 | 67 | 0.0258 | 0.117 | 0.031 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
102 | 65 | 66 | 0 | 0.037 | 0 | 0 | 0 | 0 | 0.935 | 0 | 1 | -360 | 360 | 50 | -50
103 | 66 | 67 | 0.0224 | 0.1015 | 0.02682 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
104 | 65 | 68 | 0.00138 | 0.016 | 0.638 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
105 | 47 | 69 | 0.0844 | 0.2778 | 0.07092 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
106 | 49 | 69 | 0.0985 | 0.324 | 0.0828 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
107 | 68 | 69 | 0 | 0.037 | 0 | 0 | 0 | 0 | 0.935 | 0 | 1 | -360 | 360 | 50 | -50
108 | 69 | 70 | 0.03 | 0.127 | 0.122 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
109 | 24 | 70 | 0.00221 | 0.4115 | 0.10198 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
110 | 70 | 71 | 0.00882 | 0.0355 | 0.00878 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
111 | 24 | 72 | 0.0488 | 0.196 | 0.0488 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
112 | 71 | 72 | 0.0446 | 0.18 | 0.04444 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
113 | 71 | 73 | 0.00866 | 0.0454 | 0.01178 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
114 | 70 | 74 | 0.0401 | 0.1323 | 0.03368 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
115 | 70 | 75 | 0.0428 | 0.141 | 0.036 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
116 | 69 | 75 | 0.0405 | 0.122 | 0.124 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
117 | 74 | 75 | 0.0123 | 0.0406 | 0.01034 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
118 | 76 | 77 | 0.0444 | 0.148 | 0.0368 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
119 | 69 | 77 | 0.0309 | 0.101 | 0.1038 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
120 | 75 | 77 | 0.0601 | 0.1999 | 0.04978 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
121 | 77 | 78 | 0.00376 | 0.0124 | 0.01264 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
122 | 78 | 79 | 0.00546 | 0.0244 | 0.00648 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
123 | 77 | 80 | 0.017 | 0.0485 | 0.0472 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
124 | 77 | 80 | 0.0294 | 0.105 | 0.0228 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
125 | 79 | 80 | 0.0156 | 0.0704 | 0.0187 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
126 | 68 | 81 | 0.00175 | 0.0202 | 0.808 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
127 | 81 | 80 | 0 | 0.037 | 0 | 0 | 0 | 0 | 0.935 | 0 | 1 | -360 | 360 | 50 | -50
128 | 77 | 82 | 0.0298 | 0.0853 | 0.08174 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
129 | 82 | 83 | 0.0112 | 0.03665 | 0.03796 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
130 | 83 | 84 | 0.0625 | 0.132 | 0.0258 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
131 | 83 | 85 | 0.043 | 0.148 | 0.0348 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
132 | 84 | 85 | 0.0302 | 0.0641 | 0.01234 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
133 | 85 | 86 | 0.035 | 0.123 | 0.0276 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
134 | 86 | 87 | 0.02828 | 0.2074 | 0.0445 | 0 | 0 | 0 | 1 | 0 | 1 | -360 | 360 | 50 | -50
135 | 85 | 88 | 0.02 | 0.102 | 0.0276 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
136 | 85 | 89 | 0.0239 | 0.173 | 0.047 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
137 | 88 | 89 | 0.0139 | 0.0712 | 0.01934 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
138 | 89 | 90 | 0.0518 | 0.188 | 0.0528 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
139 | 89 | 90 | 0.0238 | 0.0997 | 0.106 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
140 | 90 | 91 | 0.0254 | 0.0836 | 0.0214 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
141 | 89 | 92 | 0.0099 | 0.0505 | 0.0548 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
142 | 89 | 92 | 0.0393 | 0.1581 | 0.0414 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
143 | 91 | 92 | 0.0387 | 0.1272 | 0.03268 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
144 | 92 | 93 | 0.0258 | 0.0848 | 0.0218 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
145 | 92 | 94 | 0.0481 | 0.158 | 0.0406 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
146 | 93 | 94 | 0.0223 | 0.0732 | 0.01876 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
147 | 94 | 95 | 0.0132 | 0.0434 | 0.0111 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
148 | 80 | 96 | 0.0356 | 0.182 | 0.0494 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
149 | 82 | 96 | 0.0162 | 0.053 | 0.0544 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
150 | 94 | 96 | 0.0269 | 0.0869 | 0.023 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
151 | 80 | 97 | 0.0183 | 0.0934 | 0.0254 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
152 | 80 | 98 | 0.0238 | 0.108 | 0.0286 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
153 | 80 | 99 | 0.0454 | 0.206 | 0.0546 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
154 | 92 | 100 | 0.0648 | 0.295 | 0.0472 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
155 | 94 | 100 | 0.0178 | 0.058 | 0.0604 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
156 | 95 | 96 | 0.0171 | 0.0547 | 0.01474 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
157 | 96 | 97 | 0.0173 | 0.0885 | 0.024 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
158 | 98 | 100 | 0.0397 | 0.179 | 0.0476 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
159 | 99 | 100 | 0.018 | 0.0813 | 0.0216 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
160 | 100 | 101 | 0.0277 | 0.1262 | 0.0328 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
161 | 92 | 102 | 0.0123 | 0.0559 | 0.01464 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
162 | 101 | 102 | 0.0246 | 0.112 | 0.0294 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
163 | 100 | 103 | 0.016 | 0.0525 | 0.0536 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
164 | 100 | 104 | 0.0451 | 0.204 | 0.0541 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
165 | 103 | 104 | 0.0466 | 0.1584 | 0.0407 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
166 | 103 | 105 | 0.0535 | 0.1625 | 0.0408 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
167 | 100 | 106 | 0.0605 | 0.229 | 0.062 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
168 | 104 | 105 | 0.00994 | 0.0378 | 0.00986 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
169 | 105 | 106 | 0.014 | 0.0547 | 0.01434 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
170 | 105 | 107 | 0.053 | 0.183 | 0.0472 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
171 | 105 | 108 | 0.0261 | 0.0703 | 0.01844 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
172 | 106 | 107 | 0.053 | 0.183 | 0.0472 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
173 | 108 | 109 | 0.0105 | 0.0288 | 0.0076 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
174 | 103 | 110 | 0.03906 | 0.1813 | 0.0461 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
175 | 109 | 110 | 0.0278 | 0.0762 | 0.0202 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
176 | 110 | 111 | 0.022 | 0.0755 | 0.02 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
177 | 110 | 112 | 0.0247 | 0.064 | 0.062 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
178 | 17 | 113 | 0.00913 | 0.0301 | 0.00768 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
179 | 32 | 113 | 0.0615 | 0.203 | 0.0518 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
180 | 32 | 114 | 0.0135 | 0.0612 | 0.01628 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
181 | 27 | 115 | 0.0164 | 0.0741 | 0.01972 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
182 | 114 | 115 | 0.0023 | 0.0104 | 0.00276 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
183 | 68 | 116 | 0.00034 | 0.00405 | 0.164 | 0 | 0 | 0 | 1 | 0 | 1 | -360 | 360 | 50 | -50
184 | 12 | 117 | 0.0329 | 0.14 | 0.0358 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
185 | 75 | 118 | 0.0145 | 0.0481 | 0.01198 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
186 | 76 | 118 | 0.0164 | 0.0544 | 0.01356 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360 | 50 | -50
Gen Parameters
model type | startup cost ($) | shutdown cost ($) | n | c2 ($) | c1 ($) | c0 ($) | Compensation Up Cost ($) | Compensation Down Cost ($)
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.11765 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.045455 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 1.4286 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.52632 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.04902 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.20833 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.064516 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.025575 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.019365 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.020964 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 2.5 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.016474 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.039683 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.25 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.27778 | 20 | 0 | 100 | 5
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
2 | 0 | 0 | 3 | 0.01 | 40 | 0 | 200 | 10
Load
Load Index | Bus Index | Load Weight
1 | 1 | 0.011127
2 | 2 | 0.0091253
3 | 3 | 0.0099424
4 | 4 | 0.012165
5 | 6 | 0.011083
6 | 7 | 0.0095813
7 | 11 | 0.01154
8 | 12 | 0.0098386
9 | 13 | 0.010899
10 | 14 | 0.0085335
11 | 15 | 0.013128
12 | 16 | 0.011256
13 | 17 | 0.012291
14 | 18 | 0.012259
15 | 19 | 0.010453
16 | 20 | 0.010793
17 | 21 | 0.011091
18 | 22 | 0.011899
19 | 23 | 0.010567
20 | 27 | 0.011049
21 | 28 | 0.010764
22 | 29 | 0.013459
23 | 31 | 0.011566
24 | 32 | 0.01089
25 | 33 | 0.009129
26 | 34 | 0.009174
27 | 35 | 0.010031
28 | 36 | 0.00836
29 | 39 | 0.010085
30 | 40 | 0.0092513
31 | 41 | 0.012717
32 | 42 | 0.013018
33 | 43 | 0.011767
34 | 44 | 0.013041
35 | 45 | 0.0083494
36 | 46 | 0.012884
37 | 47 | 0.01132
38 | 48 | 0.010956
39 | 49 | 0.01072
40 | 50 | 0.0095594
41 | 51 | 0.010327
42 | 52 | 0.012107
43 | 53 | 0.0090895
44 | 54 | 0.013008
45 | 55 | 0.0085837
46 | 56 | 0.012724
47 | 57 | 0.010752
48 | 58 | 0.0091791
49 | 59 | 0.0098707
50 | 60 | 0.011325
51 | 62 | 0.01065
52 | 66 | 0.010559
53 | 67 | 0.010543
54 | 70 | 0.01203
55 | 74 | 0.0093276
56 | 75 | 0.011549
57 | 76 | 0.0098497
58 | 77 | 0.010902
59 | 78 | 0.0082717
60 | 79 | 0.013949
61 | 80 | 0.0094888
62 | 82 | 0.011783
63 | 83 | 0.010175
64 | 84 | 0.014138
65 | 85 | 0.011023
66 | 86 | 0.010352
67 | 88 | 0.011615
68 | 90 | 0.01349
69 | 92 | 0.0085875
70 | 93 | 0.012606
71 | 94 | 0.010388
72 | 95 | 0.012181
73 | 96 | 0.0096054
74 | 97 | 0.010948
75 | 98 | 0.010721
76 | 100 | 0.011603
77 | 101 | 0.013956
78 | 102 | 0.01357
79 | 103 | 0.012922
80 | 104 | 0.0082814
81 | 105 | 0.011548
82 | 106 | 0.010841
83 | 107 | 0.012904
84 | 108 | 0.011656
85 | 109 | 0.010602
86 | 110 | 0.0096697
87 | 112 | 0.011474
88 | 114 | 0.011556
89 | 115 | 0.011282
90 | 117 | 0.010471
91 | 118 | 0.010307
RES
RES Unit Index | Bus Index | Pmax (p.u.)
1 | 10 | 2
2 | 26 | 2
3 | 42 | 2
4 | 66 | 2
5 | 90 | 2

## Algorithm_Config
Model Hyperparameters
Parameter | Value
Regularization Coefficient (λ) | 1
Type of regularization term norm | 2
R&D Outer Loop Parameters
Parameter | Value
Maximum Iterations | 10
Convergence Gap Tolerance | 0.0001
OBCD–ADMM Inner Loop Parameters
Component | Parameter | Value
OBCD | Tolerance | 1e-05
OBCD | Maximum Iterations | 100
OBCD | Penalty Coefficient | 10000
ADMM | Maximum Iteration Number | 1000
ADMM | Absolute Tolerance | 0.0001
ADMM | Relative Tolerance | 0.0001
ADMM | Residual Balancing Parameter (μ) | 15
ADMM | ρ Increase Factor | 1.5
ADMM | ρ Decrease Factor | 1.2
ADMM | Initial Penalty Factor (ρ) | 0.01
ADMM | Minimum Penalty Factor | 0.01
ADMM | Maximum Penalty Factor | 10000
General | Solver | gurobi